Logger Manual

Port:

Choose and connect to the port your receiver device is attached to.

Interval:

Set interval at which a new log file will be created. Possible choices are “Hourly”, “Daily”, “Weekly” and “Monthly”. Consequently, each log file will contain signals came within an hour, a day, a week, or a month, respectively.

Day of month, day of week, hour, minute:

Set the exact time when a new log will be created. The choices available depend on the interval chosen above. For example, if “Hourly” interval is selected, and the minute is set to “10”, then a new log will be created at 13:10, 14:10, 15:10, 16:10 etc.

NOTE: Every time you change the interval type or its settings, you should reconnect in order for the changes to be applied.

Log-Directory:

Select the location of the logged signals. The organization of this directory is as follows:

(log-dir) \ (com-port and device name)	e.g.	MyLogs\COM3__Exprecium\

Each log file is named as follows:

Year-Month-Day__Hour-Min.log		e.g.	2004-06-12__13-00.log

Thus, it shows the date and time it was created.

NOTE: Every time the logger starts, it attempts to open the previous log, based on the interval settings. For example, if it was 14:25 currently, the interval was set to “Hourly”, and the Minute was set to “00”, the logger will try to open the log created at 14:00. If, indeed, this file exists, the logger will use it to log incoming signals until 15:00, as usual. If, on the other hand, the file does not exist, the logger will create a new log labeled with the current time of 14:25 and use it to log incoming signals until 15:00.

Auto-Ack

Toggle automatic acknowledging of the incoming signals.

Acknowledge

Acknowledge the reception of the incoming signal.

Disconnect

Disconnect from the receiver device.

Change the font size

To change the font size of the signals, right-click on the signals window and select “Increase” or “Decrease Font Size”.